## Titer Calculator
STANDARD CURVE |  |  |  |  | UNKNOWN VIRUS SAMPLES
Ct Duplicate 1 | Ct Duplicate 2 | Ct Average | Dilution | Titer (IU/ml) | Sample Name | Ct Duplicate 1 | Ct Duplicate 2 | Ct Average | Titer (IU/ml)
19.9 | 19.5 | 19.7 | 1/10 | 1000000 | Control Virus |  | 23.43 | 23.43 | 90999.4031
23.47 | 23.25 | 23.36 | 1/100 | 100000 |  |  |  | #DIV/0! | #DIV/0!
26.83 | 26.9 | 26.865 | 1/1000 | 10000 |  |  |  | #DIV/0! | #DIV/0!
30.3 | 30.2 | 30.25 | 1/10000 | 1000 |  |  |  | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
|  | LV900 | [5 empty] | #DIV/0! | #DIV/0! |  |  | Virus Control
|  | Titer Calculator | [5 empty] | #DIV/0! | #DIV/0! |  | ct1 | 16.92
[8 empty] | #DIV/0! | #DIV/0! |  | ct2 | 17.04
[11 empty] | avg | 16.98
y = mx + b
[7 empty] | SLOPE AND Y-INTERCEPT |  |  |  | m = | -1.349
[7 empty] | y = mln(x) + b |  |  |  | b | 37.792
[7 empty] | m = | -1.5268
[7 empty] | b = | 40.8635
[7 empty] | R2 = | 0.99969 |  | Virus control |  | 0.00010989 | GC/ul
[12 empty] | 0.0010989 | IU/ml
Instructions:
[7 empty] | 1) Fill out Yellow Highlighted Ct Values |  |  |  |  | 0.0010989
2) Titer is automatically calculated
[7 empty] | 3) Adjust titer if you diluted virus |  |  |  | RESULT | 6.999e-09% | MORE than original titer
sample for the titer assay and added
lysis buffer in Step 2 of protocol.
eg. Titer x 10 (lysis dil.) x 100 (virus dil.)
y = mx + b
[11 empty] | m = | 1.167
[11 empty] | b | 33.881
[10 empty] | Virus control |  | 1948233.4374 | GC/ul
[12 empty] | 19482334.3741 | IU/ml
[12 empty] | 19482334.3741 | IU/ml
[11 empty] | RESULT | -24.09% | loss of original titer
y = mx + b
[11 empty] | m = | 1.391
[11 empty] | b | 36.824
[10 empty] | Virus control |  | 1569073.2032 | GC/ul
[12 empty] | 15690732.0315 | IU/ml
[12 empty] | 15690732.0315 | IU/ml
[11 empty] | RESULT | 0.05903% | loss of original titer
Original titer = 1.57E+07
Titer should only drop ~10-20% with each freeze thaw.
Use QUBIT to determine concentration of stock.